| Inspection Date: |
| --- |
| Owner Information |
| Owner Name: | Contact Person: |
| Address: | Home Phone: |
| City: | Zip: | Work Phone: |
| County: |  | Cell Phone: |
| Insurance Company: | Policy #: |
| Year of Home: | # of Stories: | Email: |

- Building Code:  What building code was used to design and build the structure?

- A. 1994 South Florida Building Code (building permit application date of 9/1/1994 or later in Miami-Dade and Broward Counties (also known as the High Velocity Hurricane Zone (HVHZ)).

- B.  Building code prior to the 1994 South Florida Building Code (building permit application date of 8/31/1994 or earlier     in Miami-Dade and Broward Counties (HVHZ).

- C. 2001 Florida Building Code (building permit application date of 3/1/2002 or later outside the HVHZ).

- D.  Building code prior to the 2001 Florida Building Code (building permit application date of 2/28/2002 or earlier outside the HVHZ).

- E.  Unknown or undetermined.

- Predominant Roof Covering:

Permit Application Date:  __________ or Date of Installation: __________________________

- A. At a minimum meets the 2001 Florida Building Code or the 1994 South Florida Building Code and has a Miami-Dade NOA or FBC 2001 Product Approval listing demonstrating compliance with ASTM D 3161 (enhanced for 110MPH) OR ASTM D 7158 (F, G or H), OR FBC TAS 100-95 and TAS 107-95, OR FMRC 4470 and/or 4471 (for metal roofs).

- B.  Does not meet the above minimum requirements.

- C.  Unknown or undetermined.

NOTE:  At least one photo documenting the existence of each visible and accessible construction or mitigation attribute marked in Sections 3 through 9 must accompany this form.

- Roof Deck Attachment: What is the weakest form of roof deck attachment?

- A.  Plywood/Oriented strand board (OSB) roof sheathing attached to the roof truss/rafter (spaced a maximum of 24” o.c.) by staples or 6d nails spaced at 6” along the edge and 12” in the field. -OR- Batten decking supporting wood shakes or wood shingles.-OR- Any system of screws, nails, adhesives, other deck fastening system or truss/rafter spacing that has an equivalent mean uplift resistance of 55 psf.

- B.  Plywood/OSB roof sheathing with a minimum thickness of 7/16” attached to the roof truss/rafter (spaced a maximum of 24” o.c.) by 8d common nails spaced 6” along the edge and 12” in the field.-OR- Any system of screws, nails, adhesives, other deck fastening system or truss/rafter spacing that has an equivalent mean uplift resistance of 103 psf.

- C.  Plywood/OSB roof sheathing with a minimum thickness of 7/16” attached to the roof truss/rafter (spaced a maximum of 24” o.c.) by 8d common nails spaced 6” along the edge and 6” in the field. -OR- Dimensional lumber/Tongue & Groove decking with a minimum of 2 nails per board. -OR- Any system of screws, nails, adhesives, other deck fastening system or truss/rafter spacing that has an equivalent mean uplift resistance of 182 psf.

- D.  Reinforced Concrete Roof Deck.

- E.  Other: __________________________________

- F.  Unknown or unidentified.

- G.    No attic access.

- Roof to Wall Attachment: What is the weakest roof to wall connection?

- A.  Toe Nails	Rafter/truss anchored to top plate of wall using nails driven at an angle through the rafter/truss and attached

to the top plate of the wall.

- B.  Clips		 Metal attachments on every rafter/truss that are nailed to one side (or both sides in the case of a diamond

type clip) of the rafter/truss and attached to the top plate of the wall frame or embedded in the bond beam.

- C.  Single Wraps	 Metal Straps must be secured to every rafter/truss with a minimum of 3 nails, wrapping over and securing

to the opposite side of the rafter/truss with a minimum of 1 nail. The Strap must be attached to the top plate

of the wall frame or embedded in the bond beam in at least one place.

- D.  Double Wraps Both Metal Straps must be secured to every rafter/truss with a minimum of 3 nails, wrapping over			 and securing to the opposite side of the rafter/truss with a minimum of 1 nail. Each Strap must be attached

to the top plate of the wall frame or embedded in the bond beam in at least one place.

- E.  Structural	Anchor bolts structurally connected or reinforced concrete roof.

- F.  Other:  ______________________________________

- G.  Unknown or Unidentified

- H.    No attic access

- Roof Geometry: What is the roof shape(s)? (Porches or carports that are attached only to the fascia or wall of the host structure and not structurally connected to the main roof system are not considered in the roof geometry determination.)

- A.  Hip Roof 		Hip roof with no other roof shapes greater than 10% of the total building perimeter.

- B.  Non-Hip Roof 	Any other roof shape or combination of roof shapes including hip, gable, gambrel, mansard and

other roof shapes not including flat roofs.

- C.  Flat Roof 		Flat roof shape greater than 100 square feet or 10% of the entire roof, whichever is greater.

- Gable End Bracing: For roof structures that contain gables, please check the weakest that apply:

- A.  Gable End(s) are braced at a minimum in accordance with the 2001 Florida Building Code.

- B.  Does not meet the above minimum requirements.

- C.   Not applicable, unknown or unidentified.

- Wall Construction Type: Check all wall construction types for exterior walls of the structure and percentages for each:

  - A.  Wood Frame			_________%

  - B.  Un-Reinforced Masonry	_________%

  - C.  Reinforced Masonry		_________%

  - D.  Poured Concrete		_________%

  - E.  Other: __________________  	_________%

- Secondary Water Resistance (SWR): (standard underlayments or hot mopped felts are not SWR)

- A.  SWR	Self adhering polymer modified bitumen roofing underlayment applied directly to the sheathing or foam

adhesive SWR barrier (not foamed on insulation) applied as a secondary means to protect the dwelling

from water intrusion.

- B.  No SWR

- C.  Unknown or undetermined.

- Opening Protection: What is the weakest form of wind borne debris protection installed on the structure?  (Exterior openings include, but are not limited to: windows, doors, garage doors, skylights, etc. Product approval may be required for opening protection devices without proper rating identification.)

- A.  All Exterior Openings (Glazed and Unglazed) All exterior openings are fully protected at a minimum with impact resistant coverings, impact resistant doors and/or impact resistant window units that are listed as wind borne debris protection devices in the product approval system of the State of Florida or Miami-Dade County and meet the requirements of one of the following for “Cyclic Pressure and Large Missile Impact”. For the HVHZ, systems must have either a Miami-Dade NOA or FBC Approval marked “For Use in the HVHZ”.

- Miami-Dade County Notice of Acceptance (NOA) 201, 202 and 203. (Large Missile - 9 lb.)

- Florida Building Code Testing Application Standard (TAS) 201, 202 and 203. (Large Missile – 9 lb.)

- American Society for Testing and Materials (ASTM) E 1886 and ASTM E 1996. (Large Missile – 9 lb.)

- Southern Standards Technical Document (SSTD) 12. (Large Missile – 9 lb.)

- For Skylights Only: ASTM E 1886/E 1996. (Large Missile - 4.5 lb.)

- For Garage Doors Only: ANSI/DASMA 115.  (Large Missile – 9 lb.)

- B.  All exterior openings are fully protected at a minimum with impact resistant coverings, impact resistant doors and/or impact resistant window units that are listed as windborne debris protection devices in the product approval system of the State of Florida or Miami-Dade County and meet the requirements of one of the following for “Cyclic Pressure and Large Missile Impact”:

  - ASTM E 1886 and ASTM E 1996. (Large Missile – 4.5 lb.)

  - SSTD 12. (Large Missile – 4 lb. to 8 lb.)

  - For Skylights Only: ASTM E 1886/E 1996. (Large Missile - 2 to 4.5 lb.)

- C.  All exterior openings are fully protected at a minimum with impact resistant coverings, impact resistant doors and/or impact resistant window units that are listed as windborne debris protection devices in the product approval system of the State of Florida or Miami-Dade County and meet the requirements of one of the following for “Cyclic Pressure and Small Missile Impact”:

- Miami-Dade County NOA 201, 202 and 203. (Small Missile – 2grams)

- Florida Building Code TAS 201, 202 and 203. (Small Missile – 2 grams)

- ASTM E 1886 and ASTM E 1996. (Small Missile – 2 grams)

- SSTD 12. (Small Missile – 2 grams)

- D.  All exterior openings are fully protected with windborne debris protection devices that cannot be identified as Miami-Dade or Florida Building Code (FBC) product approved. This does not include plywood/OSB or plywood alternatives (see Answer “H”).

All Glazed Exterior Openings

- E.  All glazed exterior openings are fully protected at a minimum with impact resistant coverings and/or impact resistant window units that meet the requirements of one of the standards listed in Answer “A” of this question. (Large Missile – 9 lb.)

- F.  All glazed exterior openings are fully protected at a minimum with impact resistant coverings and/or impact resistant window units that meet the requirements of one of the standards listed in Answer “B” of this question. (Large Missile – 2 lb. - 8 lb.)

- G.  All glazed exterior openings are fully protected at a minimum with impact resistant coverings and/or impact resistant window units that meet the requirements of one of the standards listed in Answer “C” of this question. (Small Missile – 2 grams)

- H.  All glazed exterior openings are covered with plywood/OSB meeting the requirements of Section 1609 and Table 1609.1.4 of the 2004 FBC (with 2006 supplements).

- I.  All glazed exterior openings are fully protected with wind-borne debris protection devices that cannot be identified as        Miami-Dade or FBC product approved. This does not include plywood/OSB or other plywood alternatives that do not meet Answer H (see Answer “K”).

None or Some Glazed Openings

- J.  At least one glazed exterior opening does not have wind-borne debris protection.

- K.  No glazed exterior openings have wind-borne debris protection. This includes plywood/OSB or plywood alternative systems that do not meet Answer “H”.

- L.  Unknown or undetermined.

| Mitigation inspections must be CERTIFIED by a QUALIFIED INSPECTOR. Section 627.711(2), Florida Statutes, provides a listing of individuals who may sign this form. |
| --- |
| Qualified Inspector Name: | License Type: | License or Certificate #: |
| Inspection Company: | Phone: |

Qualified Inspector – I hold an active license as a: (check one)

- Home inspector licensed under Section 468.8314, Florida Statutes who has completed at least 3 hours of hurricane mitigation training and completion of a proficiency exam.

- Building code inspector certified under Section 468.607, Florida Statutes.

- General, building or residential contractor licensed under Section 489.111, Florida Statutes.

- Professional engineer licensed under Section 471.015, Florida Statutes.

- Professional architect licensed under Section 481.213, Florida Statutes.

- Any other individual or entity recognized by the insurer as possessing the necessary qualifications to properly complete a uniform mitigation verification form pursuant to Section 627.711(2), Florida Statutes.

Individuals other than licensed contractors licensed under Section 489.111, Florida Statutes, or professional engineer licensed under Section 471.015, Florida Statues, must inspect the structures personally and not through employees or other persons. Licensees under s.471.015 or s.489.111 may authorize a direct employee who possesses the requisite skill, knowledge, and experience to conduct a mitigation verification inspection.

I, __________________________ am a qualified inspector and I personally performed the inspection or (licensed

(print name)

contractors and professional engineers only) I had my employee (_____________________) perform the inspection

(print name of inspector)

and I agree to be responsible for his/her work.

Qualified Inspector Signature: ___________________________________ Date: ______________________

An individual or entity who knowingly or through gross negligence provides a false or fraudulent mitigation verification form is subject to investigation by the Florida Division of Insurance Fraud and may be subject to administrative action by the appropriate licensing agency or to criminal prosecution. (Section 627.711(4)-(7), Florida Statutes) The Qualified Inspector who certifies this form shall be directly liable for the acts of employees as if the authorized mitigation inspector personally performed the inspection.

Homeowner to complete: I certify that the named Qualified Inspector or his or her employee did perform an inspection of the residence identified on this form and that proof of identification was provided to me or my Authorized Representative.

Signature: ___________________________________ Date: __________________________

An individual or entity who knowingly provides or utters a false or fraudulent mitigation verification form with the intent to obtain or receive a discount on an insurance premium to which the individual or entity is not entitled commits a misdemeanor of the first degree. (Section 627.711(7), Florida Statutes)

The definitions on this form are for inspection purposes only and cannot be used to certify any product or construction feature as offering protection from hurricanes.